| Kitchen Exhaust System Inspection Schedule Excerpt from NFPA 96 11.4 |  |
| --- | --- |
| Systems serving solid fuel cooking operations | MONTHLY |
| Systems serving high-volume cooking operations, such as 24-hour cooking, charbroiling or wok cooking | QUARTERLY |
| Systems serving moderate-volume cooking operations | SEMI-ANNUALLY |
| Systems serving low-volume cooking, such as churches, day camps, seasonal businesses or senior centres | ANNUALLY |

11.6.1 Cleaning of Exhaust Systems

If, upon inspection, the exhaust system is found to be contaminated with deposits from grease-laden vapors, the contaminated portions of the exhaust system shall be cleaned by a properly trained, qualified, and certified person(s) acceptable to the authority having jurisdiction.